## Correction Log
Bartter Enterprises Pty Limited
EPL - 2486
Bartter Processing Plant
Farm 124 Murphy Road, Hanwood NSW 2680
Waste Water treatment Plant
Farm 126 McGann Road & Murrumbidgee Avenue, Hanwood NSW 2680
Sample Date/time | Original result | Corrected Result | Date corrected | Date originally published | Reason
JULY-18 Flow Meter Data 26,27,28,29,31 July 2018 | 0 ML | 1.7 ML 5.8 ML 5.8 ML 4.1 ML 2.4 ML | 2018-10-04 | 2018-08-01 | Calculation error
AUGUST-18 Flow Meter Data 11, 17, 23 August 2018 | 0 ML | 1.9 ML 1.9 ML 2 ML | 2018-10-04 | 2018-09-06 | Calculation error
APRIL-19 MI Discharge Flow Meter Data 18,22-30/4/19 | 5.8 ML 6.3 ML 7.5 ML 3.5 ML 0 ML 6.63 ML 3.6 ML 3.3 ML 3.5 ML 3.1 ML | 8.5 ML 7.1 ML 8.8 ML 5.2 ML 1.9 ML 8.3 ML 4.6 ML 4.9 ML 4.4 ML 4.3 ML | 2019-06-05 | 2019-05-03 | Additional discharge from alternate pump not calculated
November-19 Flow Meter Data 21/11/2019 Year to date | 0.0 ML 139.6 ML | 6.6ML 146.1 | 2020-02-05 | 2019-12-04 | Collation error
December-19 Flow Meter Data Year to date | 295 ML | 301.5 ML | 2020-02-05 | 2020-01-03 | Follow on error due to collation error in November-19
May-21 Flow Meter Data 3/5/21 | 0.67 ML | 7.62 ML | 2021-06-22 | 2021-06-01 | Calculation error